## 2021
SOTW Year | Public Water Supplier (PWS) | Final Grade | Reason for Grade
2021 | Barnstable Fire District | Excellent | Met all existing state and federal standards (MCLs)
2021 | Cotuit Water Department | Excellent | Met all existing state and federal standards (MCLs)
2021 | Hyannis Water System | Excellent | Met all existing state and federal standards (MCLs)
2021 | Otis Air National Guard Base | Excellent | Met all existing state and federal standards (MCLs)
2021 | Town of Brewster Water Department | Excellent | Met all existing state and federal standards (MCLs)
2021 | Town of Chatham DPW Water Division | Excellent | Met all existing state and federal standards (MCLs)
2021 | Town of Dennis Water District | Excellent | Met all existing state and federal standards (MCLs)
2021 | Town of Eastham Water Division | Excellent | Met all existing state and federal standards (MCLs)
2021 | Town of Falmouth Water Department | Excellent | Met all existing state and federal standards (MCLs).
2021 | Town of Harwich Water and Wastewater Department | Excellent | Met all existing state and federal standards (MCLs)
2021 | Mashpee Water District | Excellent | Met all existing state and federal standards (MCLs)
2021 | Town of Orleans Water Works | Excellent | Met all existing state and federal standards (MCLs)
2021 | Town of Provincetown Water Department | Excellent | Met all existing state and federal standards (MCLs)
2021 | Barnstable COMM | Good | One violation of E. coli MCL in one month; repeat testing was negative.
2021 | Bourne Water District | Good | One violation of Total Coliform MCL in one month; management actions were carried out, and repeat testing was negative.
2021 | Buzzards Bay Water District | Good | Repeated violation of Total Coliform MCL in two successive months and sampling periods.
2021 | North Sagamore Water District | Good | One violation of Total Coliform MCL; repeat testing was negative.
2021 | Town of Sandwich Water District | Good | Three violations of Total Coliform MCL in finish water in one month. Corrective actions were taken and repeat testing was negative.
2021 | Town of Yarmouth Water Department | Good | One violation of Nitrite MCL.
2021 | Town of Wellfleet Municipal Water System | Poor | Violation of two MCLs (Total Coliform and E. coli), with repeated violations of E. coli MCL on different dates at different locations. A "Boil Water Order" was required. Four corrective actions were required and completed.

## 2022
State of the Waters: Cape Cod, 2022
Summary
Public Water Supplier (PWS) | Final Grade | Reason for Grade
Barnstable COMM | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Barnstable Fire District | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Cotuit Water Department | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Hyannis Water System | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Bourne Water District | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Buzzards Bay Water District | Good | There were several violations of the Total Coliform MCL, but otherwise all state and federal standards (MCLs) were met including the new PFAS6 MCL.
North Sagamore Water District | Excellent | All state and federal standards (MCLs) were met including the new PFAS6 MCL.
Otis Air National Guard Base | Poor * | There were violations of two MCLs: Total Coliform and E. coli. The latter required four corrective actions including issuance of a boil-water order to protect consumers and public health. PFAS6 was detected in 2020 but met the MCL.
Town of Brewster Water Department | Excellent | All state and federal standards (MCLs) were met including the new PFAS6 MCL.
Town of Chatham DPW Water Division | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Town of Dennis Water District | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Town of Eastham Water Division | Excellent | All state and federal standards (MCLs) were met including the new PFAS6 MCL.
Town of Falmouth Water Department | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Town of Harwich Water Department | Excellent | All state and federal standards (MCLs) were met including the new PFAS6 MCL.
Mashpee Water District | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Town of Orleans Water Department | Excellent | All state and federal standards (MCLs) were met including the new PFAS6 MCL.
Town of Provincetown Water Department | Excellent | All state and federal standards (MCLs) were met including the new PFAS6 MCL.
Town of Sandwich Water District | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Town of Wellfleet Municipal Water System | Good | There were several violations of the Total Coliform MCL, but otherwise all state and federal standards (MCLs) were met including the new PFAS6 MCL.
Town of Yarmouth Water Department | Poor | There were violations of two MCLs: Enterococci and PFAS6.
Summary:
Excellent | 16 | Note: Of the 16 Excellent, 10 had detectable PFAS6 but met the PFAS6 MCL; 6 had no detectable PFAS6.
Good | 2
Poor | 2
Total: | 20

## 2023
State of the Waters: Cape Cod, 2022
Summary
Public Water Supplier (PWS) | Final Grade | Reason for Grade
Barnstable COMM | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Barnstable Fire District | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Cotuit Water Department | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Hyannis Water System | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Bourne Water District | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Buzzards Bay Water District | Good | There were several violations of the Total Coliform MCL, but otherwise all state and federal standards (MCLs) were met including the new PFAS6 MCL.
North Sagamore Water District | Excellent | All state and federal standards (MCLs) were met including the new PFAS6 MCL.
Otis Air National Guard Base | Poor * | There were violations of two MCLs: Total Coliform and E. coli. The latter required four corrective actions including issuance of a boil-water order to protect consumers and public health. PFAS6 was detected in 2020 but met the MCL.
Town of Brewster Water Department | Excellent | All state and federal standards (MCLs) were met including the new PFAS6 MCL.
Town of Chatham DPW Water Division | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Town of Dennis Water District | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Town of Eastham Water Division | Excellent | All state and federal standards (MCLs) were met including the new PFAS6 MCL.
Town of Falmouth Water Department | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Town of Harwich Water Department | Excellent | All state and federal standards (MCLs) were met including the new PFAS6 MCL.
Mashpee Water District | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Town of Orleans Water Department | Excellent | All state and federal standards (MCLs) were met including the new PFAS6 MCL.
Town of Provincetown Water Department | Excellent | All state and federal standards (MCLs) were met including the new PFAS6 MCL.
Town of Sandwich Water District | Excellent * | All state and federal standards (MCLs) were met including the new PFAS6 MCL. * indicates PFAS6 was detected but levels met the MCL.
Town of Wellfleet Municipal Water System | Good | There were several violations of the Total Coliform MCL, but otherwise all state and federal standards (MCLs) were met including the new PFAS6 MCL.
Town of Yarmouth Water Department | Poor | There were violations of two MCLs: Enterococci and PFAS6.
Summary:
Excellent | 16 | Note: Of the 16 Excellent, 10 had detectable PFAS6 but met the PFAS6 MCL; 6 had no detectable PFAS6.
Good | 2
Poor | 2
Total: | 20

## 2024
2024 State of the Waters: Cape Cod | Final | 2024-07-30
Public Water Supply Grades
Summary
Public Water Supplier (PWS) | Final Grade | Reason for Grade
Barnstable COMM | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Barnstable Fire District | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Bourne Water District | Good * | The report states that there was a violation of the Fecal Coliform/E. coli standard (0-2 detected, MCL is 0. One Level 1 asssessment needed and corrective action, and two Level 2 assessments and corrective actions needed. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Town of Brewster Water Department | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Buzzards Bay Water District | Good | The report states that there was a violation of Total Coliform standard (0). One Level 1 assessment and one Level 2 assessment were required with corrective actions. PFAS6 was not detected.
Town of Chatham DPW Water Division | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Cotuit Water Department | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL (20 ppt).
Town of Dennis Water District | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Town of Eastham Water Division | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Town of Falmouth Water Department | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Town of Harwich Water and Wastewater Department | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL
Hyannis Water System | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Mashpee Water District | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
North Sagamore Water District | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Town of Orleans Water Works | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL
Otis Air National Guard Base | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Town of Provincetown Water Department | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Town of Sandwich Water District | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Town of Wellfleet Municipal Water System | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Town of Yarmouth Water Department | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). Bacteria were detected as quoted here: "On July 5 we collected routine coliform samples from Well No. 7 raw water. On July 6 we were notified that Well No. 7 was positive for coliform and e.coli. The well was immediately taken offline and a Non-Boil Public Notice was issued. All distribution samples collected on July 5 and all followup samples collected at Well No. 7 were absent for coliform and e.coli." This was not considered a violation.
Upper Cape Regional Water Supply Collaborative | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Summary:
Excellent | 9
Excellent * | 10
Good | 9
Good * | 1
Poor | 0
Total: | 29
Number with detected PFAS6: | 11
Note: Truro obtains its water supply from Provincetown so it is not listed separately here.

## 2025
2025 State of the Waters: Cape Cod | Final | 2025-09-04
Public Water Supply Grades
Summary
Public Water Supplier (PWS) | Final Grade | Reason for Grade | Public Water Supply ID# | Report Title | URL | Comments
Barnstable COMM | Excellent * | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4020002 | 2024 Annual Water Quality Report | commwater.com | Does not mention use of chlorination for disinfection
Barnstable Fire District | Excellent * | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4020000 | Annual Water Quality Report: Reporting Year 2024 | barnstablefiredistrict.com | Report says they chlorinate for disinfection
Bourne Water District | Excellent * | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4036000 | The Bourne Water District's Water Quality Report for 2024 | bournewaterdistrict.com | Does not mention use of chlorination for disinfection
Town of Brewster Water Department | Excellent | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. | 4041000 | Annual Water Quality Report: Reporting Year 2024 | brewster-ma.gov | Report says they chlorinate for disinfection
Buzzards Bay Water District | Good | The report states that there was a violation of the Total Coliform standard, 2 detected (MCL is 0). A Level 2 asssessment was required. Upon completion no corrective actions were required. All other state and federal standards (MCLS) were met in 2024 including the Massachusetts PFAS6 MCL. | 4036001 | Consumer Confidence Report 2024 | buzzardsbaywaterdistrict.com | Does not mention use of chlorination for disinfection
Town of Chatham DPW Water Division | Excellent | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. | 4055000 | Annual Water Quality Report - Calendar Year 2024 | chatham-ma.gov | Report says they chlorinate for disinfection
Cotuit Water Department | Excellent * | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4020003 | 2024 Drinking Water Quality Report | cotuitfiredistrict.org | Does not mention use of chlorination for disinfection
Town of Dennis Water District | Excellent * | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4075000 | 2024 Annual Water Quality Report | denniswater.org | Report says they chlorinate for disinfection
Town of Eastham Water Division | Excellent | All state and federal standards (MCLs) were met in 2024. No sampling for PFAS6 was noted. | 4086095 | 2024 Report on Water Quality | eastham-ma.gov | Report says they chlorinate for disinfection
Town of Falmouth Water Department | Excellent * | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4096000 | Annual Drinking Water Quality Report 2024 | falmouthma.gov | Report says they chlorinate for disinfection
Town of Harwich Water and Wastewater Department | Excellent | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. | 4126000 | 2024 Consumer Confidence Report | harwichwater.com | Report says they chlorinate for disinfection
Hyannis Water System | Excellent * | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4020004 | 2024 Annual Water Quality Report | town.barnstable.ma.us | Report says they chlorinate for disinfection. Note: E coli in raw (untreated) water sample identified as a violation. Repeat sample clean - ND. Repeat raw water sample clean.
Mashpee Water District | Excellent * | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4172039 | 2024 Mashpee Water Quality Report | mashpeewaterdistrict.com | Does not mention use of chlorination for disinfection
North Sagamore Water District | Excellent | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. | 4036002 | 2024 Annual Water Quality Report | northsagamorewaterdistrict.com | Report says they chlorinate for disinfection
Town of Orleans Water Works | Excellent | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. | 4224000 | 2024 Annual Water Quality Report | town.orleans.ma.us | Report says they chlorinate for disinfection Note: Failure to monitor for SOCs in 4th quarter. Upon notification of violation, samples were collected and analyzed.
Otis Air National Guard Base | Excellent * | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4096001 | 2024 Consumer Confidence Report | 102iw.ang.af.mil | Report says they chlorinate for disinfection
Town of Provincetown Water Department | Excellent | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. | 4242000 | 2024 Annual Drinking Water Quality Report | provincetown-ma.gov | Report says they chlorinate for disinfection
Town of Sandwich Water District | Excellent | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. | 4261000 | 2024 Water Quality Report | sandwichwaterdistrict.com | Report says they chlorinate for disinfection
Town of Wellfleet Municipal Water System | Good | The report states that there was a violation of the Total Coliform standard, 7coliform detected in 2 rounds of sampling (MCL is 0). A Level 1 asssessment was required. Upon completion of assessment 4 corrective actions were required, 1 was completed, 3 others in process. All other state and federal standards (MCLS) were met in 2024. No sampling for PFAS6 was noted. | 4318094 | 2024 Annual Water Quality Report | wellfleet-ma.gov | Does not mention use of chlorination for disinfection
Town of Yarmouth Water Department | Excellent * | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4351000 | 2024 Drinking Water Quality Report | yarmouth.ma.us | Chlorine added as disenfectant after treatment at Wells 4+5
Upper Cape Regional Water Supply Collaborative | Excellent | All state and federal standards (MCLs) were met in 2024, including the Massachusetts PFAS6 MCL. | 4261024 | 2024 Consumer Confidence Report | falmouthma.gov | Does not mention use of chlorination for disinfection
Note: Truro obtains its water supply from Provincetown so it is not listed separately here.
TO BE FILLED IN BY APCC
Summary:
Excellent | 9
Excellent * | 10
Good | 2
Good * | 0
Poor | 0
Total: | 21
Number with detected PFAS6: | 10

## Grading System
Grading System for Public Water Supplies
State of the Waters: Cape Cod (APCC)
Excellent: Finish water met all existing state and federal health and reporting standards. | Good: Finish water had one or more exceedances of the Total Coliform MCL and/or no more than one violation of an existing state and/or federal standard that posed a risk to public health and that violation was neither chronic nor repeated. | Poor: Finish water had violations of two or more existing state and/or federal standard(s) that posed a risk to public health or a violation that was repeated or persisted through more than one sampling round
PFAS6
Asterisk * is added to grade for water if PFAS6 was detected in source or finish water but met the PFAS6 MCL.