## Summary
2024 State of the Waters: Cape Cod | Final | 2024-07-30
Public Water Supply Grades
Summary
Public Water Supplier (PWS) | Final Grade | Reason for Grade
Barnstable COMM | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Barnstable Fire District | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Bourne Water District | Good * | The report states that there was a violation of the Fecal Coliform/E. coli standard (0-2 detected, MCL is 0. One Level 1 asssessment needed and corrective action, and two Level 2 assessments and corrective actions needed. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Town of Brewster Water Department | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Buzzards Bay Water District | Good | The report states that there was a violation of Total Coliform standard (0). One Level 1 assessment and one Level 2 assessment were required with corrective actions. PFAS6 was not detected.
Town of Chatham DPW Water Division | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Cotuit Water Department | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL (20 ppt).
Town of Dennis Water District | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Town of Eastham Water Division | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Town of Falmouth Water Department | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Town of Harwich Water and Wastewater Department | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL
Hyannis Water System | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Mashpee Water District | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
North Sagamore Water District | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Town of Orleans Water Works | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL
Otis Air National Guard Base | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *).
Town of Provincetown Water Department | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Town of Sandwich Water District | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Town of Wellfleet Municipal Water System | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Town of Yarmouth Water Department | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). Bacteria were detected as quoted here: "On July 5 we collected routine coliform samples from Well No. 7 raw water. On July 6 we were notified that Well No. 7 was positive for coliform and e.coli. The well was immediately taken offline and a Non-Boil Public Notice was issued. All distribution samples collected on July 5 and all followup samples collected at Well No. 7 were absent for coliform and e.coli." This was not considered a violation.
Upper Cape Regional Water Supply Collaborative | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL.
Summary:
Excellent | 9
Excellent * | 10
Good | 1
Good * | 1
Poor | 0
Total: | 21
Number with detected PFAS6: | 11
Note: Truro obtains its water supply from Provincetown so it is not listed separately here.

## 2024 Status and Supporting Info
2024 State of the Waters: Cape Cod | Final | 2024-07-30
Public Water Supply Grades
Summary
Public Water Supplier (PWS) | Final Grade | Reason for Grade | MA Public Water Supplier ID | Report Title | URL
Barnstable COMM | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4020002 | 2023 Annual Water Quality Report | http://www.commwater.com/wp-content/uploads/105757_Mailways-Water-Quality-1.pdf
Barnstable Fire District | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4020000 | Annual Water Quality Report: Reporting Year 2023 | https://gemgrp.com/eReports/CNMA019814-1Y24/#page=1
Bourne Water District | Good * | The report states that there was a violation of the Fecal Coliform/E. coli standard (0-2 detected, MCL is 0. One Level 1 asssessment needed and corrective action, and two Level 2 assessments and corrective actions needed. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4036000 | The Bourne Water District's Water Quality Report for 2023 | https://bournewaterdistrict.com/uploads/pdf/ccr/BWD_CCR2023.pdf
Town of Brewster Water Department | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL. | 4041000 | Annual Water Quality Report: Reporting Year 2023 | https://www.brewster-ma.gov/sites/g/files/vyhlif6286/f/uploads/web_final_draft.pdf
Buzzards Bay Water District | Good | The report states that there was a violation of Total Coliform standard (0). One Level 1 assessment and one Level 2 assessment were required with corrective actions. PFAS6 was not detected. | 4036001 | Consumer Confidence Report 2023 | https://www.buzzardsbaywaterdistrict.com/student-life
Town of Chatham DPW Water Division | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL. | 4055000 | Chatham Department of Public Works Water Division Annual Water Quality Report - Calendar Year 2023 | https://www.chatham-ma.gov/DocumentCenter/View/7424/2023-Consumer-Confidence-Water-Quality-Report-PDF
Cotuit Water Department | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL (20 ppt). | 4020003 | 2023 Drinking Water Quality Report | http://www.cotuitfiredistrict.org/waterdepartment/files/2024/03/Cotuit-Water-Brochure-2023.pdf
Town of Dennis Water District | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4075000 | 2023 Annual Water Quality Report | https://www.denniswater.org/sites/g/files/vyhlif4326/f/uploads/annual_water_quality_report_2023.pdf
Town of Eastham Water Division | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL. | 4086095 | 2024 Report on Water Quality | https://www.eastham-ma.gov/DocumentCenter/View/3104/Town-of-Eastham-CCR-2024
Town of Falmouth Water Department | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4096000 | Annual Drinking Water Quality Report 2023 | https://www.falmouthma.gov/DocumentCenter/View/14407/CCR-2023?bidId=
Town of Harwich Water and Wastewater Department | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL | 4126000 | 2023 Consumer Confidence Report | https://www.harwichwater.com/assets/CCR/2023%20Harwich%20CCR.pdf
Hyannis Water System | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4020004 | 2023 Annual Water Quality Report | https://tobweb.town.barnstable.ma.us/Departments/watersupply/News_and_Updates/-C.O.M.M-Drinking-Water-Quality-Report.pdf?tm=6/27/2024%201:04:04%20AM
Mashpee Water District | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4172039 | 2024 Mashpee Water Quality Report | http://www.mashpeewaterdistrict.com/waterquality/Mashpee%20Water%20Qual%20Rpt%201-16%20REV.pdf .
North Sagamore Water District | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4036002 | 2023 Annual Water Quality Report | https://www.northsagamorewaterdistrict.com/2023-water-quality-report
Town of Orleans Water Works | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL | IN5259003 | 2023 Annual Water Quality Report | https://town.orleans.in.us/wp-content/uploads/2024/05/MX-M264N_20240522_103615.pdf
Otis Air National Guard Base | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). | 4096001 | 2023 Consumer Confidence Report | https://www.102iw.ang.af.mil/Portals/2/documents/community/CCR_2023_Final.pdf
Town of Provincetown Water Department | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL. | 4242000 | 2023 Annual Drinking Water Quality Report | https://www.provincetown-ma.gov/ArchiveCenter/ViewFile/Item/32268
Town of Sandwich Water District | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL. | 4261000 | 2024 Water Quality Report | https://sandwichwaterdistrict.com/2024-water-quality-report/
Town of Wellfleet Municipal Water System | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL. | 4318094 | 2023 Report on Water Quality | https://www.wellfleet-ma.gov/sites/g/files/vyhlif5166/f/uploads/2023-wellfleetmunicipal_water_system.pdf#:~:text=Lead%20and%20copper%20samples%20were,Federal%20EPA%20drinking%20water%20standards.
Town of Yarmouth Water Department | Excellent * | All state and federal standards (MCLs) were met in 2023, including the Massachusetts PFAS6 MCL. PFAS6 was detected but concentrations were less than the MCL of 20 ppt (indicated by an asterisk *). Bacteria were detected as quoted here: "On July 5 we collected routine coliform samples from Well No. 7 raw water. On July 6 we were notified that Well No. 7 was positive for coliform and e.coli. The well was immediately taken offline and a Non-Boil Public Notice was issued. All distribution samples collected on July 5 and all followup samples collected at Well No. 7 were absent for coliform and e.coli." This was not considered a violation. | 4351000 | 2023 Drinking Water Quality Report | https://www.yarmouth.ma.us/DocumentCenter/View/18734/2023-Water-Quality-Report
Upper Cape Regional Water Supply Collaborative | Excellent | All state and federal standards (MCLs) were met in 2023 including the Massachusetts PFAS6 MCL. | 4261024 | 2023 Consumer Confidence Report | https://www.falmouthma.gov/DocumentCenter/View/15651/UCRWSC-CCR-2023
Summary:
Excellent | 9
Excellent * | 10
Good | 1
Good * | 1
Poor | 0
Total: | 21
Number with detected PFAS6: | 11
Note: Truro obtains its water supply from Provincetown so it is not listed separately here.

## 2023 State of the Waters
State of the Waters: Cape Cod, 2023 |  | 45244
Summary
Public Water Supplier (PWS) | Final Grade | Reason for Grade
Barnstable COMM | Excellent * | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL. PFAS6 was detected, but concentrations were less than the MCL for PFAS6 (20 ppt).
Barnstable Fire District | Excellent * | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL. PFAS6 was detected, but concentrations were less than the MCL for PFAS6 (20 ppt).
Cotuit Water Department | Excellent * | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL. PFAS6 was detected, but concentrations were less than the MCL for PFAS6 (20 ppt).
Hyannis Water System | Excellent * | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL. PFAS6 was detected, but concentrations were less than the MCL for PFAS6 (20 ppt).
Bourne Water District | Excellent * | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL. PFAS6 was detected, but concentrations were less than the MCL for PFAS6 (20 ppt).
Buzzards Bay Water District | Good | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL, except for total coliform bacteria.
North Sagamore Water District | Excellent * | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL. PFAS6 was detected, but concentrations were less than the MCL for PFAS6 (20 ppt).
Otis Air National Guard Base | Excellent * | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL. PFAS6 was detected, but concentrations were less than the MCL for PFAS6 (20 ppt).
Town of Brewster Water Department | Excellent | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL.
Town of Chatham DPW Water Division | Excellent | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL.
Town of Dennis Water District | Excellent * | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL. PFAS6 was detected, but concentrations were less than the MCL for PFAS6 (20 ppt).
Town of Eastham Water Division | Excellent | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL.
Town of Falmouth Water Department | Excellent | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL.
Town of Harwich Water Department | Excellent | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL.
Mashpee Water District | Excellent * | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL. PFAS6 was detected, but concentrations were less than the MCL for PFAS6 (20 ppt).
Town of Orleans Water Department | Excellent | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL.
Town of Provincetown Water Department | Excellent | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL. However, in 2020 three sampling sites had lead levels above the action level (AL) of 15 ppb.
Town of Sandwich Water District | Good | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL, except for total coliform bacteria .
Town of Wellfleet Municipal Water System | Excellent | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL.
Town of Yarmouth Water Department | Excellent * | All state and federal standards (MCLs) were met in 2022, including the new PFAS6 MCL. PFAS6 was detected, but concentrations were less than the MCL for PFAS6 (20 ppt).
Upper Cape Regional Water Supply Collaborative | Excellent | All state and federal standards (MCLs) were met in 2022.
Summary:
Excellent | 9
Excellent * | 10
Good | 2
Poor | 0
Total: | 21

## Grading System
Grading System for Public Water Supplies
Same as 2023 SOTW
Excellent: In 2023 finish water met all existing state and federal health and reporting standards. | Good: In 2023 finish water had one or more exceedances of the Total Coliform MCL and/or no more than one violation of an existing state and/or federal standard that posed a risk to public health and that violation was neither chronic nor repeated. | Poor: In 2023 finish water had violations of two or more existing state and/or federal standard(s) that posed a risk to public health or a violation that was repeated or persisted through more than one sampling round
PFAS6
Asterisk * is added to grade for water if PFAS6 was detected in source or finish water but met the PFAS6 MCL.